## Slide 1: Planning for Community Oriented Grids May 26, 2020
Paul De Martini
Executive Director, Pacific Energy Institute
Visiting Scholar, Caltech

## Slide 2
“The future has arrived —
it’s just not evenly distributed yet.”
William Gibson

## Slide 3: Cities are Taking Action

## Slide 4: Transit Oriented Development (TOD) concepts are relevant to electric planning
TOD is a design approach employed in connected communities that are improving societal value by:
  Improving Quality of Life
  Economic Competitiveness
  Improving Resilience
  Addressing Climate change
These community development efforts typically incorporate energy related elements including:
  Transportation Electrification
  Critical Infrastructure Resiliency
  Local Distributed Resource Development
Source: PSOMAS
American Fork, Utah

## Slide 5: Sustainable & Connected Communities
Societal value from the creation of Sustainable & Connected Communities accrues in significant part based on the efficient use of clean, resilient electricity
  Connected communities in many metro areas will be supplied increasingly in large part by distributed resources (perhaps 35% or more by 2040)
  Connected communities will need to be resilient – this will depend in part on microgrids and other customer resources that need to be linked
Connected communities are dependent upon a node-friendly distribution network that is open, visible, flexible, reliable, resilient and safe*
Building & Transportation Electrification + DER + Grid Platform Enable Connected Communities
*More Than Smart principle adopted by CPUC

## Slide 6: Community Critical Infrastructure Interdependencies
Context: Distribution grids in the United States are on average ~30-years old (of ~40-year asset life), with increasing demands from electrification, large scale adoption of unregulated distributed generation & storage, or use of distributed resources to provide critical grid operational functions. That places significant challenges on a system that was not structured & designed for this new reality.
Electrification and distributed resources necessitate closer examination of the interdependencies among critical infrastructure and the distribution grid.

## Slide 7: Planning for a Grid 2035
Need to take a more holistic view of “needs” from a local societal perspective
  What are counties & cities pursuing?
  State regulation and electric system planning tend to lag local climate and sustainable action plans
  This lag will become a major issue later this decade as local actions will overtake traditional electric system planning focus and cycles
Understand the desired end state (e.g., Portland 2035)
  How is clean electricity used, produced, transported and to whom
  What are the “market” overlays that may be needed to enable efficient pricing and use of resources
  What is the role of the electric grid in 2035
  What are the resilience considerations for such a Y2035 electric ecosystem
Back-cast to today’s starting point and identify the key signposts and associated milestones to evolve toward 2035
Caution to avoid incrementalism in energy policy and solutions that don’t scale leading to cul-de-sacs and political/customer friction
  Examples of this dynamic have already occurred in Hawaii, Puerto Rico, California

## Slide 8: Long-term Distribution Planning
Planning for Grid 2035 requires a more holistic view of needed inputs and criteria – much more explicit inclusion of local policies and action plans
Planning Inputs
Planning Analysis
Resilience
& Reliability
Expansion &
Modernization
Asset Planning
Needs Identification
Source: P. De Martini

## Slide 9: Evolution of Customer/Community & Distribution
What is the scope, scale and pace of change toward a more distributed system?

## Slide 10: Electric Transactions 2035?
Independent Generation
Power Traders
Wholesale Markets
Transmission
Owners
RTOs
Competitive Energy Sales
DER Devices Sales
DER/Microgrid Services Aggregators
Utility Energy Sales
Distributed Transactions
Distribution
Already beginning to see this transformation in US electric systems

## Slide 11: Transportation Network Characteristics
Connectivity: Connectivity refers to the density of connections in path or road networks, capacity and directness of links.
Accessibility: Accessibility refers to market access measured through statistical indicators of effective market size or effective market density and ease of access.
Availability: Availability refers to a transportation system's performance to deliver services when demanded.
Adapting Transportation Concepts for Sustainable & Connected Communities

## Slide 12: Distribution Network Criteria
California’s highly distributed electric system will need to address these criteria

## Slide 13: Transactive Distribution Grid Design Concept
Distribution transactions
  Create transaction “hub” at low-side of T-D Substation transformer bank, associated distribution bus section and feeders
  Distribution transactions are scheduled for delivery to and from this “hub” via corresponding injection and take-out points on interconnected circuits
  Injection Point – Physical location at which scheduled power is injected into distribution system
  Take Out Point – Physical location of the recipient of energy from the scheduled power.
Distribution to transmission transactions
  Interchange scheduling point is the associated LMP node on high side of substation transformer bank.

## Slide 14: Distribution Grid as a Network Platform
Metcalfe’s Law: Value of a network grows at the square of the number of connections – not applicable to electric grids
Geoffrey West: With each increase in size, cities get a super-linear value-add of 15% in increased efficiency and productivity.
De Martini-ICF: Increases in DER, electrified buildings and EVs (number of grid connections) create super-linear societal value - findings consistent with West’s “Scale” research
Connections
Societal Value
Accumulated Network Value
Distribution Network Value
Traditional Linear Value based on Electric Sales
Electric Distribution Network Value Can Be Super Linear

## Slide 15: Distribution Network Value Potential
The cyber-physical grid infrastructure can provide the foundation for network value creation
Total value increases through the interdependent capabilities of each value layer
Higher electrification and DER adoption drives value
Capturing benefits requires a broader view of the solution set and deliberate alternative grid designs & investment to support value realization
Realizing the value potential requires a different mental model

## Slide 16: Distribution System Planning
Multiple community & utility distribution planning efforts often involved – need to converge to ensure optimal grid investments & non-utility solutions
Grid Modernization
Resilience
& Reliability
Asset Planning
County & City Planning

## Slide 17: Determining Portfolio of Resilience Solutions
Challenge – communities, utilities, 3rd parties and customers are each independently pursuing various point & community solutions
  Community: Cyber-Physical Grid Hardening, Mini-grids, Multi-user Microgrids, etc.
  Point Solutions: Back-up generation, energy storage, customer microgrid, etc.
Specific solutions don’t necessarily solve all the needs – a portfolio is needed
  Solutions usually address specific functional resilience needs
  Solutions have different potential societal benefits based on type of event and severity
  How to determine an effective portfolio?
Proactive, collaborative approach required to align state, local and customer needs

## Slide 18: A Future History of the Grid Many possible futures – essential to consider the potential implications
2015-2035
Transactive Energy
Resilience
Grid as
a Platform
DER Integration
DER Centric
Integrated Distributed Planning
NWA Utilization
Smart Grid
Interconnection Rules
2010-2030
2030-2040
Enabling Grid
Electrification
ZNE Adoption
DER for Resource Adequacy
Grid Modernization
TDC Operational Coordination
Community:
Environmental & Nation State Threats
Critical facilities and essential services
Neighborhood
Grid Structural Design Changes
Customer:
Point Solutions
Multi-user MGs
Retail Energy Market:
Post-NEM - Buy-Sell Contracts with Customers w/DER
Subscription pricing for customers
System Operations:
Energy storage greatly dampens stochasticity
Zero marginal cost resources reduce LMP effectiveness
Local utilization of DER changes wholesale market

## Slide 19: Considerations for Grid 2035
Future architecture of community dominant transactive distributed power systems will be influenced by connected, resilient community development employing transit-oriented development (TOD) designs.
Technological advancement is accelerating and there will be new and larger societal impacts from emergent technologies over the next decade as seen over the past 10+ years
Large scale use of DER for resource adequacy will fundamentally change the design requirements for distribution grid
A community oriented grid (COG) architecture would inform electricity market designs, grid investments, operational coordination (including interoperability) and public policy shaping DER adoption.
Role and value of electric grid to enable clean, electrified & resilient communities is not fully understood by all stakeholders
Shift from scarcity thinking to abundance thinking regarding the significant value potential created from grid investment?

## Slide 20: “The future belongs to those who prepare for it today.” Malcolm X
https://pacificenergyinstitute.org/